## Slide 1
STRG (offsite datacenter)
1
Managed Service
MHS
Methodist
EI Core
(1M License)
(1.6M core)
STRIC
2
3
4
STRG
EI Core
(200k License)
(600k Core)
MHS
200,000
(+400k Priors)
DICOM
~90 day Cache + Priors
MHS Fast Archive
Slow Archive
EI 8.1.1+
Rhapsody
Conditional Routing
Portal
Portal
Rhapsody
MPI
Cloud Archive
SW Only
200,000
(+400k priors)
1,000,000
Security Admin -
What you can see
(data segmentation)
System Administrator
What you can do
Security Admin –(What you can see
data segmentation)
STRG System Administrator
What you can do
Logical MHS DB
MHS System Administrator
What you can do
Mammo Administrator
What you can do
ADT/ORM
ADT, ORM, ORU
Proxy
ORU
STRG Cache
(90day)
Logical STRG DB
Transfer
Shuttle
STRIC Archive

## Slide 2
DMZ
STRG (offsite datacenter)
1
Managed Service
MHS
Methodist
EI Core
(1M License)
(1.6M core)
STRG
EI Core
(200k License)
(600k Core)
EI 8.1.1+
SW Only
Portal
Rhapsody
XERO
Transfer
Reverse Proxy
File
Rhapsody
STRG

## Slide 3
APP
APP
APP
1 - Oracle EE
2 - Oracle SE
ODG
STRG Active-Standby (99.99%)
SRM
CSP
SR
1x16x64Gb
3-2x16x128Gb
1-1x16x64Gb
1x16x64Gb
H/A
1-2x16x128Gb
APP
CSP
Block
(SAN)
File
Block
(SAN)
File
EI 8.1.1+

## Slide 4: STRG VM Recommendation
DC #1 Active
DC #2 Standby
DB Cluster
  12 vCPU 84GB RAM vMem
  Agfa would deploy 2x1x16 64GB RAM servers
  Provides N+1 configuration and initial fail
    Over inside DC #1
Application Cluster
  81vCPU 277GB RAM vMEM
  Agfa would deploy 4x2x16 128GB RAM servers
  Provides N+1 configuration
Test Cluster
  14vCPU 60GB RAM vMEM
  Agfa would deploy 1x1x16 64GB RAM
DB Cluster
  12 vCPU 84GB RAM vMEM
  Agfa would deploy 2x1x16 64GB RAM servers
  Provides N+1 configuration and initial fail
Application Cluster
  81vCPU 277GB RAM vMEM
  Agfa would deploy 4x2x16 128GB RAM servers
  Provides N+1 configuration
Clinical Sites Proxy 1,2,3,4, 5,6 … If Required
Site #1
  8vCPU 32GB RAM
Site #2
  8vCPU 32GB RAM
Site #3
  8vCPU 32GB RAM
Site #4
  8vCPU 32GB RAM
Agfa Would deploy 1x16x64 Server for each site
Requiring a proxy

## Slide 5: STRG Storage Recommendation
Details available upon request

## Slide 6: Storage Continued
NA For STRG

## Slide 7: STRG Network To Methodist SA